RWA Treasurer Questions for Water Management

1. Water Source & Supply

Treasurer should understand where water comes from.

Questions:

- What are the sources of water in the apartment?

  - BWSSB connection

  - Borewell

  - Tanker water

- What percentage of water comes from each source?

- What is the monthly water consumption of the community?

- Do we have water shortage during summer?

- Is there a backup water source plan?

2. Water Cost Management

Water is usually one of the largest expenses in RWAs.

Questions:

- What is the monthly cost of tanker water?

- How many tankers are purchased per month?

- What is the cost per tanker?

- Do we have multiple tanker vendors for price comparison?

- Has the tanker price increased recently?

- What is the total yearly water expenditure?

3. Borewell Management

If borewells exist:

Questions:

- How many borewells are active?

- What is the depth of borewells?

- What is the yield per hour?

- Are borewell motors working properly?

- What is the electricity cost for pumping water?

- When was the last borewell maintenance done?

4. Water Storage System

Questions:

- What is the capacity of underground sump?

- What is the capacity of overhead tanks?

- Are water tanks cleaned regularly?

- What is the tank cleaning schedule?

- Are tank cleaning expenses recorded?

5. Water Usage Monitoring

Questions:

- Do we track daily water consumption?

- Do we have water meters installed?

- Is there flat-wise water metering?

- Are there water leaks in pipelines?

- How much water is lost due to leakage?

6. Tanker Vendor Management

Questions:

- Who are the approved tanker vendors?

- Are vendor invoices properly recorded?

- Is there a contract or rate agreement?

- Are tanker quantity and delivery verified?

- Is there any water quality check?

7. Water Quality Management

Questions:

- Do we conduct water quality testing?

- What are the TDS levels?

- Is the water safe for drinking?

- Do we have water purification system for drinking water?

8. STP (Sewage Treatment Plant)

Many Bengaluru apartments have STP.

Questions:

- Is STP functioning properly?

- What is the STP maintenance cost?

- Is treated water reused for:

- Gardening

- Flushing

- Cleaning?

- Are we compliant with pollution control board rules?

9. Rainwater Harvesting

Questions:

- Do we have rainwater harvesting system?

- Are recharge pits maintained?

- Is the system functional?

- How much groundwater recharge happens yearly?

10. Water Theft / Misuse

Questions:

- Is there any unauthorized water usage?

- Are vendors using water illegally?

- Are car wash or external uses monitored?

11. Water Infrastructure Maintenance

Questions:

- Are pumps regularly serviced?

- Are pipelines inspected for leaks?

- Is the plumbing system aging?

12. Water Budget Planning

Questions:

- What is the annual water budget?

- What percentage of maintenance expenses is water?

- Can we reduce tanker dependency?

- Should we drill new borewell?

- Are we planning any water-saving initiatives?

Key Financial Reports Treasurer Should Maintain

✔ Monthly water expense report
✔ Tanker purchase register
✔ Borewell maintenance expenses
✔ STP maintenance cost
✔ Water consumption report

Example Monthly Water Cost Table

| Source | Monthly Cost |
| --- | --- |
| BWSSB Water | ₹30,000 |
| Borewell Electricity | ₹15,000 |
| Tanker Water | ₹1,20,000 |
| STP Maintenance | ₹25,000 |

Total Water Cost = ₹1,90,000 / month

Best Practices for RWAs in Bengaluru

✔ Install water meters
✔ Track daily water usage
✔ Reuse STP treated water
✔ Maintain rainwater harvesting system
✔ Negotiate tanker rates

RWA Water Management Audit Checklist (80 Questions)

1. Water Source Assessment (1–8)

- What are the primary water sources in the community?

- How many BWSSB connections exist?

- How many borewells are available?

- How many borewells are currently active?

- What is the average borewell yield per hour?

- What percentage of water comes from BWSSB vs Borewell vs Tankers?

- Is there seasonal shortage of water (especially summer)?

- Is there a backup water source plan?

2. Water Consumption Monitoring (9–16)

- What is the daily water consumption of the apartment?

- What is the per flat water consumption?

- Do we maintain daily water usage logs?

- Are water meters installed at main supply points?

- Is there flat-wise water metering?

- Are consumption patterns analyzed monthly?

- Do we track peak water usage periods?

- Is water usage higher than standard benchmarks?

3. Borewell Management (17–24)

- How many borewell pumps are installed?

- What is the depth of each borewell?

- What is the borewell water yield during summer vs monsoon?

- When was the last borewell servicing done?

- Is the borewell motor energy efficient?

- What is the electricity consumption for borewell pumps?

- Is there a borewell water quality test report?

- Is there a backup borewell pump available?

4. Tanker Water Management (25–34)

- How many water tankers are purchased monthly?

- What is the cost per tanker?

- How many approved tanker vendors are used?

- Is there a rate contract with tanker suppliers?

- Are tanker deliveries verified at the gate?

- Is tanker quantity measured before unloading?

- Are tanker invoices recorded properly?

- Is there a tanker water purchase register?

- Are tanker vendors providing safe water?

- Are tanker prices reviewed periodically?

5. Water Storage Infrastructure (35–42)

- What is the capacity of underground sump tanks?

- What is the capacity of overhead tanks?

- Are water tanks cleaned periodically?

- What is the tank cleaning frequency (recommended every 6 months)?

- Are tank cleaning expenses recorded?

- Are tank overflow issues occurring?

- Are tank levels monitored automatically?

- Are tanks covered and secured properly?

6. Pump & Plumbing Infrastructure (43–50)

- Are water pumps regularly serviced?

- What is the maintenance schedule for pumps?

- Are backup pumps available?

- Are pipelines checked for leakage regularly?

- How often are pipeline inspections conducted?

- Are pressure pumps functioning properly?

- Is there water loss due to pipe leaks?

- Are plumbing repairs recorded in maintenance logs?

7. Water Quality Monitoring (51–58)

- Is water quality tested regularly?

- What are the TDS levels of water?

- Is there microbial contamination testing?

- Are drinking water purification systems installed?

- Is tanker water tested periodically?

- Are residents complaining about water quality?

- Is treated water separated from drinking water supply?

- Are water quality reports shared with residents?

8. Sewage Treatment Plant (STP) Management (59–66)

- Does the apartment have an STP installed?

- What is the capacity of the STP plant?

- Is the STP functioning properly?

- Is treated water reused for flushing or gardening?

- What is the monthly STP maintenance cost?

- Is STP compliant with Karnataka Pollution Control Board regulations?

- Is STP sludge disposed properly?

- Are STP operator logs maintained daily?

9. Rainwater Harvesting (67–72)

- Is rainwater harvesting installed?

- How many recharge pits exist?

- Are recharge pits cleaned regularly?

- Does rainwater harvesting reduce borewell dependency?

- Is rainwater harvesting mandatory as per BBMP rules?

- Is the system functioning effectively?

10. Water Cost & Budget Analysis (73–80)

- What is the monthly water expenditure?

- What percentage of maintenance budget goes to water?

- What is the annual water cost?

- Is tanker dependency increasing yearly?

- Are there plans to reduce tanker purchases?

- Is there a water conservation policy?

- Are residents educated about water saving practices?

- Is water management reviewed in MC meetings regularly?

Example Water Expense Summary (Treasurer Report)

| Water Source | Monthly Cost |
| --- | --- |
| BWSSB Water | ₹40,000 |
| Borewell Electricity | ₹20,000 |
| Tanker Water | ₹1,50,000 |
| STP Maintenance | ₹30,000 |

💰 Total Monthly Water Cost = ₹2,40,000

Best Practices for Bengaluru RWAs

✅ Install smart water meters
✅ Track daily consumption
✅ Use STP treated water for flushing/gardening
✅ Maintain rainwater harvesting pits
✅ Negotiate tanker vendor rates annually
✅ Fix leakages immediately

✅ If you want, I can also create a very useful Excel Water Management Toolkit used by RWAs, which includes:

- Water tanker purchase tracker

- Daily water consumption log

- Borewell monitoring sheet

- STP maintenance tracker

- Water cost dashboard for Treasurer

This helps Treasurers control tanker costs (often ₹20–40 lakh/year in big apartments). 📊

Top of Form

Bottom of Form